International Conference «Inverse and Ill-Posed Problems of Mathematical Physics», 
dedicated to Professor M.M. Lavrent’ev in occasion of his 75-th birthday, August 20-25, 2007, Novosibirsk, Russia

On the accuracy of Grangeat method for cone-beam tomography reconstruction

O.E. Trofimov,                            A.V. Likhachov

IA&E SB RUS,		           IA&E SB RUS

Ak. Koptyuga, 1		 Ak. Koptyuga, 1

630090 Novosibirsk, Russia           630090 Novosibirsk, Russia

E-mail: trofimov@iae.nsk.su	E-mail: ipm1@iae.nsk.su

Work was supported by RBRF (grants 06-01-81000, 07-07-00251- a)

From a mathematical point of view the cone-beam tomography problem consists in the reconstruction of the function of three variables from its integrals along a certain family straight lines, located in the three-dimensional space. There are different methods of solution of this problem [1-7]. One of them is the method of Grangeat [5]. In this paper it will be shown that this method is only approximate.

Let  be the function of three variables. The Radon transform  of function  is an integral of it on the plane, passing through the point  perpendicular to vector . Plane in the three-dimensional space can be assigned with normal vector and with distance  from it to the origin of coordinates. In this case , where  is the scalar product. Thus, for the given function  the Radon transform is a function of three variables. Two variables assign the angles of unit vector, the third variable assigns distance from the plane to the origin of coordinates. Differentiation with respect to  corresponds to differentiation in the direction of vector .

The inversion formulas of the Radon transform for the spaces of arbitrary dimensionality are given in [3]. At present the two-dimensional and three-dimensional cases are most important for the practical applications.

The inversion formula of the Radon transform for the three-dimensional space takes the form

(1)

The geometric sense of formula (1) consists of the following: to calculate the value of function at the assigned point the average value from the second derivative of the Radon transform at this point is calculated. Average value (integral) is calculated in all possible directions (unit vectors).

In the computer X-ray tomography the initial data is the integrals on the straight lines. Let us consider the following scheme of measurements. There is a radiation source, and the data about attenuation of emission are recorded with a certain two-dimensional receiver (film or the matrix of detectors). In this case with obtaining of data we have not a Radon transform, but beam transform.

Let us assume that the function of three variables , point  and vector  are assigned. We will call the beam transform of function  the function

D1+fS,α=0∞fs+tαdt,t∈R1.	 			(2)

Thus, value  for the fixed pair  is equal to integral of  along the ray, which emanates from the point  in the direction of vector .

In the work of Grangeat [5] is proposed the method to derive first-order derivative of the Radon transform for the assigned direction. Using this method it is possible to reduce the problem of beam transform inversion to the three-dimensional Radon transform inversion.

For future reference us will be required a number of determinations and constructions from [5].

Let the source be located at point . It is assumed in [5] that the detector is located in the plane , passing through the origin of coordinates  and orthogonal to vector . Usually the origin of coordinates is located inside the object being investigated, and detector behind the object relative to source, but this does not have fundamental value, since, knowing data with one position of detector it is possible to calculate them for another position.

Assume that the vector  is assigned, let us examine the plane , passing through the point  and the orthogonal to vector . Let us designate through  the point of three-dimensional space, that is the projection of the origin of coordinates  on the plane . The point  minimizes the distance between the points of plane  and the origin of coordinates. Distance from the point  to the origin of coordinates is equal to .

The Grangeat method makes it possible to calculate first-order derivative of the Radon transform for the point  and the vector , derivative is taken in the direction of vector . Let us designate through  the straight line, which lies at the intersection of the plane of detector  and the plane , passing through the point  perpendicular to vector . In accordance with the Grangeat method let us introduce into the examination straight line  as the straight line, which lies at the plane of detector , parallel to line  and being distant behind it up to the distance . Let us note that . Let us designate through  the point on the straight line , distance from which to the point of source  is minimal. Through  we will designate the point on the straight line , which is distant behind the point  up to the distance .

Let us introduce the function  is point on the straight line . This function is equal to integral of  along the straight line, passing through points  and . We normalize the function  as following . Let us introduce also the function  as integral of  in terms of the variable . Function  is an integral of  along straight line . It is asserted in [5] that the derivative of function  in terms of the variable  at point  is proportional to the first-order derivative of the Radon transform for the vector  and distance from the plane to the origin of coordinates that is equal to . The coefficient of proportionality is independent of the function  and equal to , where  is the vector product.

In our opinion with the proof of this assertion in the work [5] essentially is used the fact that a radius of the source movement is much more than the size of object. In this connection computer simulations were carried out.

Numerical simulations were carried out as follows.

The examined function fx,y,z was

1,x−xp2+y−yp2+z−zp2≤rp20,x−xp2+y−yp2+z−zp2>rp2.				(3)

The vector n0=n0x,n0y,n0z=cosϕsinθ,sinϕsinθ,cosθ of normal to the plane  was fixed, and was fixed the point M=x0,y0,z0, through which must pass this plane. In this case the length of perpendicular to the plane  is equal to ρ0=n0xx0+n0yy0+n0zz0.

где rn0,d радиус круга, образованного в сечениии. Преобразование Радона от функции (3) в точке n0,ρ равно площади этого круга, тогда

The derivative of the Radon transform ∂Rf/∂ρ at the point n0,ρ0 was calculated as follows. Let Pn0,ρ is a plane determined with the normal vector n0 and distance to the origin of coordinates ρ. Let d is the length of perpendicular, put on this plane from the center of sphere, being in a point xp,yp,zp. It is obviously that ∂Rf/∂ρ|ρ=ρ0=∂Rf/∂d|d=d0, where d0 is the length of perpendicular to the plane  from the point xp,yp,zp. It is also obviously, that a perpendicular from the center of sphere to the plane Pn0,ρ passes through the center of circle, formed in the intersection of sphere and this plane (if such is present), consequently

r2n0,d=rp2−d2, 						(4)

where rn0,d is the radius of circle, formed in the intersection. The Radon transform of the function (3) in a point n0,ρ is equal to the area of this circle, then

∂Rfn0,ρ∂ρ|ρ=ρ0=∂Rfn0,d∂d|d=d0=∂πr2n0,d∂d|d=d0=−2πd0.  		(5)

To calculate d0 let us write down equation of plane  in the system of coordinates, which origin is placed in the center of sphere: n0xx+n0yy+n0zz=d0. From other side, this plane passes through the point M, which coordinates in the new system are x0−xp,y0−yp,z0−zp, and its equation can be written down as n0xx+n0yy+n0zz=n0xx0−xp+n0yy0−yp+n0zz0−zp, so d0=n0xx0−xp+n0yy0−yp+ n0zz0−zp. Thus, get in the end

∂Rfn0,ρ∂ρ|ρ=ρ0=−2πn0xx0−xp+n0yy0−yp+n0zz0−zp			(6)

After the derivative of the Radon transform ∂Rf/∂ρ at point n0,ρ0 was determined, derivative ∂SYf/∂p|p=0 for several radii rs of the source trajectory was calculated. The circle, which lies at the plane z=0, is the trajectory of the motion of source. For each rs the position of source on the circle was determined by solving of system of equations:

x2+y2=rsn0xx+n0yy=ρ0.						(7)

In this case for calculating the coordinates of source xs,ys it was taken greater of the roots of system (7).

Fig.1: Discrepancy Δ depending on			   Fig.2: Values of the derivatives depending on

a radius of the source trajectory.			              a radius of the source trajectory.

Value SYf(0) is calculated as integral of cone-beam projection data with the source, which is located in the point xs,ys,0 along the straight line L, formed by intersection plane  and the plane PO,ns, passing through the origin of coordinates perpendicular to the vector ns=xs/rs,ys/rs,0 (this is the plane, in which is located the detector). Straight line L displaces in the plane PO,ns up to the distance Δp in parallel to itself, and value SYf(Δp) is calculated with the same way. After this, the derivative ∂SYf/∂p|p=0 is found by difference formula. Projection data were calculated from the analytical formula as the lengths of the intersection of the corresponding rays with the sphere. Integration along the straight line L was performed numerically.

In figures 1,2 the results of numerical simulation are represented. In fig.1 the dependences of the standardized discrepancy

Δ=∂Rf/∂ρ|ρ=ρ0−os2/os×n02∂SYf/∂p|p=0∂Rf/∂ρ|ρ=ρ0

on a radius of the source trajectory rs are given. Vector n0 is determined by angles ϕ=0∘ and θ=60∘. The center of sphere is located at point 0.4,0,0, its radius is equal to 0.3. For the curve 1 point M has coordinates 0.3,0,0.1 for curve 2 these coordinates are 0.3,0,0.2. In fig.2 the values of derivatives  for the same data are given. Curves 1 and 3 in fig.2 are the dependencies of the value of derivative ∂SYf/∂p|p=0 on a radius of the source trajectory, while curves 2 and 4 are the dependencies of the value of the derivative of the Radon transform. Since the derivative of the Radon transform does not depend from the distance to the source, 2 and 4 are straight lines. The pair of curves 1 and 2 relates to the plane, passing through the point 0.3,0,0.1, while pair 3 and 4 - to the plane, passing through the point 0.3,0,0.2. It is evident from fig.2 that with an increase in the radius of the source trajectory the derivative ∂SYf/∂p|p=0 approaches derivative of the Radon transform both for one and for another point (curve 1 approaches straight line 2, and curve 3 approaches straight line 4).

In the Grangeat’s work is assumed that the function is twice differentiable. In connection with this the numerical simulations for the function

were carried out The results of simulations for it proved to be analogous to the results, given above.

It follows from the results of simulations that the assertion of work [5] correctly only approximately, moreover the accuracy of approximation is the higher, the greater the radius of source trajectory in the comparison with the dimensions of object.

## References

[1] Natterer F. The Mathematics of Computerized Tomography. New York: John Wiley & Sons, 1986.

[2] Lavrentiev M.M., Zerkal S.M., Trofimov O.E. Computer  Modelling in Tomography and Ill-Posed Problems, VSP (The Netherlands), 2001.

[3] Helgason S. The Radon Transform. Birchäuser Boston, 1980.

[4] Kirillov A.A. On one Gelfand’s problem. // DAN SSSR. 1961. V.137, No 2. P.276-277.

[5] Grangeat P. Mathematical framework of cone beam 3D reconstruction via the first derivative of the Radon transform. // Mathematical Methods in Tomography. Proceedings of Conference Mathematical Methods in Tomography, Oberwolfach, Germany, 1990. G.T. Herman, A.K., Louis, F. Natterer (Eds.). Springer-Verlag. P.66-97.

[6] Smith B.D. Cone-beam tomography: recent advances and tutorial review. // Optical Engineering. 1990. V.29, No 5. P.524-534.

- [7] Trofimov O.E. On Fourier Transform of a Class of Generalized Homogeneous Functions. // Siberian Journal of Industrial Mathematics. 2004. V.7, No. 1. P.30-38. (in Russian).